## Sheet1
Reads Passing Filter Per Flow Cell
HiSeq 3000 System
Single-end Reads | 312,5 M1
Sequencing mode | 1 × 50 bp
Sequencing mode | 2 × 75 bp2
Sequencing mode | 2 × 150 bp2
NovaSeq 6000 System3
Flow Cell Type | SP | S1 | S2 | S4
Single-end Reads | 650–800 M | 1.3–1.6 B | 3.3 B–4.1 B | 8-10 B
Paired-end Reads | 1.3–1.6 B | 2.6–3.2 B | 6.6–8.2 B | 16–20 B
Sequencing mode | N/A | N/A | N/A | 1 × 35 bp
Sequencing mode | 2 × 50 bp | 2 × 50 bp | 2 × 50 bp | N/A
Sequencing mode | 2 × 100 bp | 2 × 100 bp | 2 × 100 bp | 2 × 100 bp
Sequencing mode | 2 × 150 bp | 2 × 150 bp | 2 × 150 bp | 2 × 150 bp
Sequencing mode | 2 x 250 bp | N/A | N/A | N/A
MiSeq System3
Flow Cell Type | v2 Nano | v2 Micro | v2 | v3
Single-end Reads | 1 | 4 | 15 | 25
Paired-end Reads | 2 | 8 | 30 | 50
Sequencing mode | N/A | N/A | 1 × 36 bp | N/A
Sequencing mode | N/A | N/A | 2 × 25 bp | N/A
Sequencing mode | N/A | N/A | N/A | 2 × 75 bp
Sequencing mode | 2 × 150 bp | 2 × 150 bp | N/A | N/A
Sequencing mode | 2 × 250 bp | N/A | N/A | N/A
Sequencing mode | N/A | N/A | N/A | 2 × 300 bp
1per sequencing lane
2not avaliable at the BSF
3custom settings are possible